## Slide 1: Assignment 3 Optimum size and location of PV using Metaheuristic Algorithm
Submitted by : Ashish Bhatta
Submitted to : Assistant Prof. Dr. Samudra Gurung
February 2025

## Slide 2: Objectives
Use two different meta-heuristic optimization algorithms to find the optimal size of Grid-connected solar farm GSFs
  Formulate the Objective Function and constraints
  Find optimum size of PV
  Find optimum location of PV
Compare results between two different algorithm

## Slide 3: Optimization process

## Slide 4: Objective Function and constraints

## Slide 5: Finding constraints
Substation | Load(MW)
Anarmani | 
Damak | 
Godak | 
Inaruwa | 
Kabeli/Amapur | 
Kusaha | 
Lahan | 
Phidim | 
Rupani | 
Total Load | 
Substation | Load(MW)
Anarmani | 
Damak | 
Godak | 
Inaruwa | 
Kabeli/Amapur | 
Kusaha | 
Lahan | 
Phidim | 
Rupani | 
Total Load | 

## Slide 6
Flowchart for Bat Algorithm

## Slide 7
Flow Chart for Simulated Annealing

## Slide 8: Parameters for Bat Algorithms
Parameters | Values
Population size (n) | 25
Maximum no. of Iteration (t_max = 50) | 50
Initial Loudnesss (A) | 100 dB
Initial Pulse Rate (ro) | 100
Pulse emission rate (alpha) | 0.95
Loudness reduction rate (gamma ) | 0.1
Minimum Frequency | 0 Hz
Freq_max = 100; | 100 Hz

## Slide 9: Parameters for Simulated Annealing
Parameters | Values
Initial Temperature | 0.1
Final Temperature | 061112
Cooling rate | 0.99

## Slide 10: Finding Optimum Location of PV
PV Location | System Loss (Bat) (kW) | Optimum PV Sizes in kW
Bus 1 and Bus 2 | 19.32 | [21506 ,12386]
Bus 1 and Bus 3 | 17.6 | [22710,18652]
Bus 2 and Bus 3 | 20.81 | [13982 , 21871]
PV Location | System Loss (SA) (kW) | Optimum PV Sizes in kW
Bus 1 and Bus 2 | 19.14 | [22642 , 22709]
Bus 1 and Bus 3 | 17.61 | [22524,18095]
Bus 2 and Bus 3 | 20.74 | [14864, 22673]
BAT Algorithm
SA Algorithm
Bus ̄1 and Bus 3 is found to be the optimum Location

## Slide 11
Chart: Convergence Plot for Bat Algorithm
Run 1 | 17.2656 | 17.2528 | 17.233 | 17.2138 | 17.2014 | 17.1872 | 17.1749 | 17.1633 | 17.1525 | 17.1441 | 17.1331 | 17.1246 | 17.122 | 17.1179 | 17.113 | 17.1118 | 17.1087 | 17.1063 | 17.1041 | 17.1011 | 17.0994 | 17.0976 | 17.095 | 17.0936 | 17.0918 | 17.0892 | 17.0874 | 17.085 | 17.0835 | 17.0819 | 17.0807 | 17.0795 | 17.0785 | 17.0776 | 17.0765 | 17.076 | 17.0745 | 17.0736 | 17.0723 | 17.0712 | 17.0708 | 17.0703 | 17.0697 | 17.069 | 17.0686 | 17.0683 | 17.0676 | 17.0671 | 17.0666 | 17.066 | 17.066
Run 2 | 17.2976 | 17.2826 | 17.2567 | 17.2412 | 17.2259 | 17.2204 | 17.2094 | 17.2011 | 17.1898 | 17.1827 | 17.1745 | 17.1659 | 17.1604 | 17.1511 | 17.144 | 17.1404 | 17.1358 | 17.1322 | 17.1279 | 17.1235 | 17.1155 | 17.1098 | 17.1038 | 17.099 | 17.0941 | 17.0912 | 17.0868 | 17.0814 | 17.0782 | 17.0754 | 17.0732 | 17.0701 | 17.0675 | 17.0656 | 17.063 | 17.0602 | 17.0584 | 17.0567 | 17.0543 | 17.0528 | 17.0519 | 17.0496 | 17.0476 | 17.0462 | 17.0445 | 17.0433 | 17.0417 | 17.0404 | 17.039 | 17.0381 | 17.0381
Run 3 | 17.194 | 17.1796 | 17.1708 | 17.1465 | 17.143 | 17.1258 | 17.1112 | 17.0998 | 17.0852 | 17.0741 | 17.065 | 17.0522 | 17.0413 | 17.0321 | 17.0277 | 17.0234 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226 | 17.0226
Run 4 | 17.8898 | 17.8704 | 17.8458 | 17.8381 | 17.8288 | 17.8144 | 17.8029 | 17.7914 | 17.775 | 17.7599 | 17.7498 | 17.7457 | 17.7324 | 17.728 | 17.7194 | 17.7121 | 17.7064 | 17.6993 | 17.6942 | 17.6914 | 17.685 | 17.68 | 17.6753 | 17.6686 | 17.6629 | 17.6587 | 17.6554 | 17.6513 | 17.6487 | 17.6451 | 17.6418 | 17.6386 | 17.637 | 17.6345 | 17.6308 | 17.6266 | 17.6234 | 17.6215 | 17.6188 | 17.6166 | 17.6144 | 17.6129 | 17.6103 | 17.6079 | 17.6067 | 17.6044 | 17.6026 | 17.6012 | 17.6004 | 17.5995 | 17.5995
Run 5 | 18.026 | 18.0118 | 18.0076 | 18.0035 | 17.9977 | 17.9883 | 17.9833 | 17.9797 | 17.9753 | 17.9717 | 17.9664 | 17.9641 | 17.9614 | 17.9603 | 17.9584 | 17.9551 | 17.9525 | 17.9481 | 17.9455 | 17.9428 | 17.9395 | 17.9373 | 17.9344 | 17.9321 | 17.9292 | 17.9278 | 17.9273 | 17.9256 | 17.9241 | 17.9228 | 17.9222 | 17.9207 | 17.92 | 17.9189 | 17.9173 | 17.9163 | 17.9157 | 17.9144 | 17.9136 | 17.9126 | 17.9117 | 17.911 | 17.9104 | 17.9101 | 17.909 | 17.9083 | 17.9077 | 17.9075 | 17.9072 | 17.9067 | 17.9067

## Slide 12
Chart: Convergence Plot for Simulated Annealing
Run 1 | 20.2054 | 20.2527 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.5045 | 18.2767 | 18.2767 | 18.2767 | 18.2767 | 18.2767 | 18.4855 | 18.4855 | 18.4855 | 18.4855 | 18.4855 | 18.4855 | 18.4855 | 17.8425 | 17.8425 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464 | 17.6464
Run 2 | 20.988 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503 | 17.9503
Run 3 | 20.2318 | 20.2318 | 19.6612 | 19.1791 | 19.1791 | 19.1791 | 18.7573 | 18.7573 | 18.2643 | 18.2643 | 18.2643 | 18.2643 | 18.2643 | 18.2643 | 18.2643 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 18.119 | 17.6186 | 17.6186 | 17.6186 | 17.6186 | 17.6186 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.4506 | 17.3254 | 17.3254
Run 4 | 21.9754 | 19.6943 | 19.6943 | 18.4006 | 17.6289 | 17.6289 | 17.6289 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.7891 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657 | 17.3657
Run 5 | 18.9091 | 18.9091 | 18.9091 | 18.9091 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.7624 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 18.0113 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504 | 17.7504

## Slide 13
Chart: Average Convergence Plot for Bat Algorithm
 | 17.5346 | 17.5194 | 17.5028 | 17.4886 | 17.4794 | 17.4672 | 17.4563 | 17.4471 | 17.4356 | 17.4265 | 17.4178 | 17.4105 | 17.4035 | 17.3979 | 17.3925 | 17.3886 | 17.3852 | 17.3817 | 17.3789 | 17.3763 | 17.3724 | 17.3695 | 17.3662 | 17.3632 | 17.3601 | 17.3579 | 17.3559 | 17.3532 | 17.3514 | 17.3496 | 17.3481 | 17.3463 | 17.3451 | 17.3438 | 17.342 | 17.3403 | 17.3389 | 17.3378 | 17.3363 | 17.3352 | 17.3343 | 17.3333 | 17.3321 | 17.3312 | 17.3303 | 17.3294 | 17.3284 | 17.3278 | 17.3272 | 17.3266 | 17.3266

## Slide 14
Chart: Average Convergence Plot for Simulated Annealing
 | 20.4619 | 19.4077 | 18.9439 | 18.5887 | 18.405 | 18.405 | 18.3207 | 18.3527 | 18.2541 | 18.2541 | 18.2541 | 18.2541 | 18.2541 | 18.2541 | 18.0583 | 18.0293 | 18.0293 | 18.0293 | 18.0293 | 18.071 | 18.071 | 18.071 | 18.071 | 18.071 | 18.071 | 18.071 | 17.8423 | 17.8423 | 17.8031 | 17.8031 | 17.7509 | 17.7173 | 17.7173 | 17.7173 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6327 | 17.6076 | 17.6076

## Slide 15: Comparison between BAT and SA
S.N. | Comparison Parameters | BAT | SA
1 | Mean Value of convergence | 17.33 kW | 17.61 kW
2 | Standard deviation | 0.3618 kW | 0.2625 kW
3 | Optimal buses | Anarmani and Kusaha | Anarmani and Kusaha
4 | Optimal Sizes (MW) | 20835 kW, 19997 kW | 19838 kW, 22409 kW
5 | Loss after optimal PV placement at optimal location | 17.33 kW | 17.6 1 kW
6 | Average time for convergence | 5 minutes | 44 seconds

## Slide 16: Conclusion
The optimum size and location of PV is determined by using
  Bat algorithm and
  Simulated Annelation (SA)
Convergence speed of SA is much faster than that of Bat Algorithm but shows slightly more standard deviation.
The speed of convergence and accuracy depends on how we choose the initial parameters.

## Slide 17: Annex 1: Simulation File
All Simulation Files

## Slide 18: Annex 2: Power factory setup

## Slide 19: Annex 3: Temperature of SA
Chart: Temperature at each iteration for SA
Temperature | 0.1 | 0.099 | 0.09801 | 0.09703 | 0.09606 | 0.095099 | 0.094148 | 0.093207 | 0.092274 | 0.091352 | 0.090438 | 0.089534 | 0.088638 | 0.087752 | 0.086875 | 0.086006 | 0.085146 | 0.084294 | 0.083451 | 0.082617 | 0.081791 | 0.080973 | 0.080163 | 0.079361 | 0.078568 | 0.077782 | 0.077004 | 0.076234 | 0.075472 | 0.074717 | 0.07397 | 0.07323 | 0.072498 | 0.071773 | 0.071055 | 0.070345 | 0.069641 | 0.068945 | 0.068255 | 0.067573 | 0.066897 | 0.066228 | 0.065566 | 0.06491 | 0.064261 | 0.063619 | 0.062982 | 0.062353 | 0.061729 | 0.061112